# CERTIFICATE OF ANALYSIS

Calcium Nitrate Tetrahydrate — Industrial Grade

| Product Name: Calcium Nitrate Tetrahydrate | Grade: Industrial Grade |
| --- | --- |
| CAS No.: 13477-34-4 | EINECS EC No.: 233-332-1 |
| Molecular Formula: Ca(NO₃)₂·4H₂O | Molecular Weight: 236.15 g/mol |
| Batch No.: HRSU/CNP/04/42/2025 | Manufacturing Date: 11/04/2025 |
| Shelf Life: 60 months (when stored sealed in a cool, dry place) | Expiry Date: 29/04/2030 (based on 60-month shelf life) |

## Test Results

| Parameter | Specification | Result | Method |
| --- | --- | --- | --- |
| Appearance | Colourless to white crystals | Conforms | Visual |
| Assay (as Ca(NO₃)₂·4H₂O) | 99 – 103% | 99.8% | Titrimetric |
| Melting Point | 42 – 44°C | 43.5°C | Capillary Tube |
| pH (5% solution in water, 25°C) | 5.0 – 7.0 | 5.9 | pH meter |
| Insoluble matter in water | Max 0.005% | 0.003% | Gravimetric |
| Nitrite (NO₂) | Max 0.001% | 0.0008% | Colorimetric |
| Chloride (Cl) | Max 0.005% | 0.002% | Turbidimetric |
| Sulphate (SO₄) | Max 0.005% | 0.004% | Turbidimetric |
| Barium (Ba) | Max 0.01% | 0.005% | ICP-OES |
| Iron (Fe) | Max 0.0005% | 0.0003% | ICP-OES |
| Lead (Pb) | Max 0.001% | 0.0007% | ICP-OES |
| Magnesium (Mg) | Max 0.05% | 0.03% | ICP-OES |
| Potassium (K) | Max 0.005% | 0.002% | Flame Photometry |
| Sodium (Na) | Max 0.02% | 0.015% | Flame Photometry |
| Strontium (Sr) | Max 0.05% | 0.02% | ICP-OES |
| Density (typical, informational) | ≈ 1.86 g/cm³ | 1.85 g/cm³ | Hydrometer |
| Solubility in water (typical, informational) | 121 g in 100 g of water | Conforms | Visual |

## Conclusion

All tested parameters conform to specification. RESULT: PASS — APPROVED FOR RELEASE.

Analyst				QC Manager				Authorised Signatory